## Slide 1: Water Turbidity Measurement-Algorithm
Nitay ozer
Itay mal
supervisor adi vainiger

## Slide 2: RTE
Where:

## Slide 3: Our Approach
Natural light

## Slide 4: Basic Assumptions
Consistency of water turbidity in water body .
Invariant to light source.
Water body is big enough No reflectance from surroundings.
From the above:

## Slide 5: Calculating with 2 Targets
From 1st target:
From 2nd target:

## Slide 6: Measurement Setup

## Slide 7: Step I – Detecting the Targets

## Slide 8: Step II – Averaging the Quarters

## Slide 9: Step III – Calculating
Real Values:
= 0.6
= 1.2
= (0.64, 0.64, 0.64)
= (0.5, 0.2, 0)
= (1.14, 0.84, 0.64)
Estimated Values:
= 0.6009
= 1.2019
= ???
= ???
= (1.86, 0.91, 0.13)

## Slide 10: Validating Assumptions
Water body is big enough No reflectance from surroundings.
We chose to work with

## Slide 11: Validating Assumptions
Invariant to light source.

## Slide 12: Checking Absorption
Sweeping only on .
.
We can see that the behavior is almost perfectly linear with error , and with slope

## Slide 13: Checking scatter
Sweeping only on .
.
We can see that the graph behavior is not linear.

## Slide 14: Checking scatter with absorption
Sweeping only on .
.
We can see that the graph behavior is still not linear and different for each channel.